## Slide 1: Smart Room Energy Saver
IoT Project Demonstration
  Dede Coughlan
  James O’Sullivan
  Eanna Gallagher
  Sustainable Development Goal 7 & 13

## Slide 2: The Problem – Energy Waste in Homes
Lights left on in empty rooms
  Heating running unnecessarily
  Higher energy bills
  Increased carbon emissions
  Aligned with SDG 7 & SDG 13

## Slide 3: Our Solution
Low-cost IoT Smart Room Controller
  Detects occupancy using sound sensor
  Monitors temperature & light levels
  Automatically controls heating and lighting

## Slide 4: System Hardware Overview
Arduino Uno R4 WiFi
  Temperature Sensor (A0)
  Light Sensor (A1)
  Sound Sensor (A2)
  Relay (D5) – Heater
  LED (D4) – Lights

## Slide 5: How the System Works
Reads temperature continuously
  Heater ON below 18°C
  Heater OFF above 21°C
  Lights ON if dark + occupied
  Auto shut-off after 5 mins inactivity

## Slide 6: Cloud Integration
WiFi-enabled Arduino
  Sends sensor data to cloud database
  Logs timestamps
  Tracks occupancy duration
  Allows energy usage analysis

## Slide 7: Testing & Challenges
Tested threshold values
  Adjusted sound sensitivity
  Handled WiFi reconnection issues
  Reduced relay interference noise

## Slide 8: Security Considerations
WiFi credentials stored separately
  API keys protected
  Secure cloud communication
  Closed unused ports

## Slide 9: Future Improvements
Replace sound sensor with PIR sensor
  Add real energy monitoring
  Web dashboard or mobile app
  Expand to multi-room system

## Slide 10: Live Demonstration
Show sensor readings
  Trigger occupancy
  Demonstrate heater control
  Demonstrate lighting control
  Show cloud data update